## Sheet1
name | typ | zone | netcap (nameplate) | seg1 | seg2 | seg3 | mincap | ramp | minu | mind | var_om | no_load | st_cost
BoulderPark1 | ngct | PNW | 4.1
BoulderPark2 | ngct | PNW | 4.1
BoulderPark3 | ngct | PNW | 4.1
BoulderPark4 | ngct | PNW | 4.1
BoulderPark5 | ngct | PNW | 4.1
BoulderPark6 | ngct | PNW | 4.1
zyCoyoteSprgCC2-CT | ngcc | PNW | 170
zyCoyoteSprgCC2-ST | ngcc | PNW | 117
KettleFalls2 | ngct | PNW | 7.2
Northeast_1 | ngct | PNW | 30.9
Northeast_2 | ngct | PNW | 30.9
zyRathdrumCC-CT | ngcc | PNW | 179.4
zyRathdrumCC-ST | ngcc | PNW | 122.1
CoyoteSprgCC2-Total | ngcc | PNW | 287
RathdrumCC-Total | ngcc | PNW | 301.5
AldenBailey | ngct | PNW | 10.9
BangorSubmarineBase2 | ngct | PNW | 10
zyCentraliaCC-ST70 | ngcc | PNW | 68
zyCentraliaCC-CT30 | ngcc | PNW | 50
zyCentraliaCC-CT40 | ngcc | PNW | 50
zyCentraliaCC-CT50 | ngcc | PNW | 50
zyCentraliaCC-CT60 | ngcc | PNW | 50
Centralia1 | coal | PNW | 729.9
Centralia2 | coal | PNW | 729.9
zyChehalisCC-ST | ngcc | PNW | 196
zyChehalisCC-CT1 | ngcc | PNW | 199
zyChehalisCC-CT2 | ngcc | PNW | 199
Columbia2 | nuclear | PNW | 1170
zyFredericksonCC-CT | ngcc | PNW | 124.65
zyFredericksonCC-ST | ngcc | PNW | 144.35
zyGraysHarborCC-ST | ngcc | PNW | 300
zyGraysHarborCC-CT1 | ngcc | PNW | 175
zyGraysHarborCC-CT2 | ngcc | PNW | 175
zyHermistnCC-CT1 | ngcc | PNW | 212.5
zyHermistnCC-CT2 | ngcc | PNW | 212.5
zyHermistnCC-ST | ngcc | PNW | 264.4
zyUofOR-CC-CT | ngcc | PNW | 7.5
zyUofOR-CC-ST | ngcc | PNW | 3.5
zyKlamathCogenCC-CT1 | ngcc | PNW | 161.5
zyKlamathCogenCC-CT2 | ngcc | PNW | 161.5
zyKlamathCogenCC-ST | ngcc | PNW | 178.5
KlamathExpGT1 | ngct | PNW | 29.4
KlamathExpGT2 | ngct | PNW | 29.4
KlamathExpGT3 | ngct | PNW | 29.4
KlamathExpGT4 | ngct | PNW | 29.4
MorrowPwrGT | ngct | PNW | 31
FranklinGrays1 | ngct | PNW | 11.4
FranklinGrays2 | ngct | PNW | 11.4
FranklinGrays3 | ngct | PNW | 11.4
FranklinGrays4 | ngct | PNW | 11.4
Puget_Sound | oil | PNW | 12
River_Road | ngcc | PNW | 248
zyRooseveltBioCC-CT7 | ngcc | PNW | 10
zyRooseveltBioCC-CT8 | ngcc | PNW | 10
zyRooseveltBioCC-ST9 | ngcc | PNW | 6
CouleePump1-2 | pump | PNW | -166
CouleePump3-4 | pump | PNW | -166
CouleePump5-6 | pump | PNW | -166
KITTVALY | snychronous condenser | PNW | 0.1
CMBHL_2 | snychronous condenser | PNW | 0.1
CentraliaCC-Total | ngcc | PNW | 268
ChehalisCC-Total | ngcc | PNW | 594
FredericksonCC-Total | ngcc | PNW | 269
GraysHarborCC-Total | ngcc | PNW | 650
HermistnCC-Total | ngcc | PNW | 689.4
KlamathCogenCC-Total | ngcc | PNW | 501.5
RooseveltBioCC-Total | ngcc | PNW | 26
UofOR-CC-Total | ngcc | PNW | 11
zyHermistnGenCC1-ST | ngcc | PNW | 106.1
zyHermistnGenCC1-CT | ngcc | PNW | 204.5
zyHermistnGenCC2-ST | ngcc | PNW | 106.1
zyHermistnGenCC2-CT | ngcc | PNW | 204.5
HermistnGenCC1-Total | ngcc | PNW | 310.6 | 14515550.722 | 1956261
HermistnGenCC2-Total | ngcc | PNW | 310.6
zyBeaver1 | ngcc | PNW | 68.3
zyBeaver2 | ngcc | PNW | 68.3
zyBeaver3 | ngcc | PNW | 68.3
zyBeaver4 | ngcc | PNW | 68.3
zyBeaver5 | ngcc | PNW | 68.3
zyBeaver6 | ngcc | PNW | 68.3
zyBeaver7 | ngcc | PNW | 176.4
Boardman | coal | PNW | 642.2
zyCoyoteSprgCC1-CT | ngcc | PNW | 185.8
zyCoyoteSprgCC1-ST | ngcc | PNW | 80.6
STANDBY_AGG._3 | oil | PNW | 62.2
zyPortWestwrd1CC-CT | ngcc | PNW | 312
zyPortWestwrd1CC-ST | ngcc | PNW | 171
BeaverCC-Total | ngcc | PNW | 586.2
PortWestwrd1CC-Total | ngcc | PNW | 483
CoyoteSprgCC1-Total | ngcc | PNW | 266.4
zyEncogenCC-CT1 | ngcc | PNW | 39.4
zyEncogenCC-CT2 | ngcc | PNW | 39.4
zyEncogenCC-CT3 | ngcc | PNW | 39.4
zyEncogenCC-ST | ngcc | PNW | 58.2
Frederickson1 | ngct | PNW | 88.9
Frederickson2 | ngct | PNW | 88.9
zyGoldendaleCC-CT1 | ngcc | PNW | 166
zyGoldendaleCC-ST2 | ngcc | PNW | 114.3
zyMarchPointCC-CT1 | ngcc | PNW | 46.68
zyMarchPointCC-CT2 | ngcc | PNW | 46.68
zyMarchPointCC-CT3 | ngcc | PNW | 46.68
zyMarchPointCC-ST | ngcc | PNW | 27
zyMintFarmCC-CT | ngcc | PNW | 186
zyMintFarmCC-ST | ngcc | PNW | 133
zyFerndaleCC-CT1 | ngcc | PNW | 90.8
zyFerndaleCC-CT2 | ngcc | PNW | 90.8
zyFerndaleCC-ST | ngcc | PNW | 71.87
zySumasPowerCC-CT | ngcc | PNW | 101.5
zySumasPowerCC-ST | ngcc | PNW | 37.7
TesoroICs | ice | PNW | 18
FerndaleCC-Total | ngcc | PNW | 253.47
GoldendaleCC-Total | ngcc | PNW | 280.3
MarchPointCC-Total | ngcc | PNW | 167.04
MintFarmCC-Total | ngcc | PNW | 319
EncogenCC-Total | ngcc | PNW | 176.4
SumasPowerCC-Total | ngcc | PNW | 139.2

## Gen_2011
name | typ | fuel | class | zone | netcap (nameplate) | seg1 | seg2 | seg3 | mincap | ramp | minu | mind | var_om | no_load | st_cost | avg heat rate |  |  | year online
RATHDRUM_1 | GT | ng | ct | PNW | 83.2 | 8.5691 | 8.6341 | 8.6992 | 29.12 | 83.2 | 1 | 1 | 3.17 | 35.0553 | 5824 | 10.48 |  |  | 1994
RATHDRUM_2 | GT | ng | ct | PNW | 83.2 | 8.5691 | 8.6341 | 8.6992 | 29.12 | 83.2 | 1 | 1 | 3.17 | 35.0553 | 5824 | 10.48 |  |  | 1994
RATHDRUMPWR_CTG1 | CT | ng | cc | PNW | 179.4 | 5.6917 | 5.9526 | 6.2136 | 71.76 | 179.4 | 2 | 2 | 2 | 82.4593 | 12558 | 7.08 |  |  | 2001
RATHDRUMPWR_STG1 | CA | ng | cc | PNW | 122.1 | 5.6917 | 5.9526 | 6.2136 | 48.84 | 122.1 | 2 | 2 | 2 | 56.1219 | 8547 | 7.08 |  |  | 2001
RUPERT_1002 | CS | ng | cc | PNW | 10.4 | 9.2717 | 9.5326 | 9.7936 | 4.16 | 10.4 | 2 | 2 | 2 | 4.7802 | 728 | 10.66 |  |  | 1996
ALDEN BAILEY_LOKI | GT | ng | ct | PNW | 10.9 | 5.6891 | 5.7541 | 5.8192 | 3.815 | 10.9 | 1 | 1 | 3.17 | 4.5926 | 763 | 7.6 | 7.6? |  | 2001
BEAVER_1 | CT | ng | cc | PNW | 68.3 | 14.0017 | 14.2626 | 14.5236 | 27.32 | 68.3 | 5 | 5 | 2 | 31.3934 | 4781 | 15.39 |  |  | 1974
BEAVER_2 | CT | ng | cc | PNW | 68.3 | 14.0017 | 14.2626 | 14.5236 | 27.32 | 68.3 | 5 | 5 | 2 | 31.3934 | 4781 | 15.39 |  |  | 1974
BEAVER_3 | CT | ng | cc | PNW | 68.3 | 14.0017 | 14.2626 | 14.5236 | 27.32 | 68.3 | 5 | 5 | 2 | 31.3934 | 4781 | 15.39 |  |  | 1974
BEAVER_4 | CT | ng | cc | PNW | 68.3 | 14.0017 | 14.2626 | 14.5236 | 27.32 | 68.3 | 5 | 5 | 2 | 31.3934 | 4781 | 15.39 |  |  | 1974
BEAVER_5 | CT | ng | cc | PNW | 68.3 | 14.0017 | 14.2626 | 14.5236 | 27.32 | 68.3 | 5 | 5 | 2 | 31.3934 | 4781 | 15.39 |  |  | 1974
BEAVER_6 | CT | ng | cc | PNW | 68.3 | 14.0017 | 14.2626 | 14.5236 | 27.32 | 68.3 | 5 | 5 | 2 | 31.3934 | 4781 | 15.39 |  |  | 1974
BEAVER_7 | CA | ng | cc | PNW | 176.4 | 14.0017 | 14.2626 | 14.5236 | 70.56 | 176.4 | 5 | 5 | 2 | 81.0804 | 12348 | 15.39 |  |  | 1977
BEAVER_8 | GT | ng | ct | PNW | 24.5 | 13.4791 | 13.5441 | 13.6092 | 8.575 | 24.5 | 1 | 1 | 3.17 | 10.3228 | 1715 | 15.39 |  |  | 2001
BOARDMAN_1 | ST | coal | coal | PNW | 642.2 | 8.3592 | 8.9741 | 9.589 | 224.77 | 481.65 | 10 | 10 | 4.6 | 88.5524 | 44954 | 10.1 |  |  | 1980
COYOTE SPRINGS 1_GEN 1 | CT | ng | cc | PNW | 185.7 | 12.7017 | 12.9626 | 13.2236 | 74.28 | 185.7 | 3 | 3 | 2 | 85.355 | 12999 | 14.09 |  |  | 1995
COYOTE SPRINGS 1_GEN 2 | CA | ng | cc | PNW | 80.6 | 12.7017 | 12.9626 | 13.2236 | 32.24 | 80.6 | 3 | 3 | 2 | 37.0469 | 5642 | 14.09 |  |  | 1995
COYOTE SPRINGS 2_GEN 1 | CT | ng | cc | PNW | 170 | 5.5617 | 5.8226 | 6.0836 | 68 | 170 | 2 | 2 | 2 | 78.1387 | 11900 | 6.95 |  |  | 2003
COYOTE SPRINGS 2_GEN 2 | CA | ng | cc | PNW | 117 | 5.5617 | 5.8226 | 6.0836 | 46.8 | 117 | 2 | 2 | 2 | 53.7778 | 8190 | 6.95 |  |  | 2003
HERMISTON_1 | CA | ng | cc | PNW | 106.1 | 6.0317 | 6.2926 | 6.5536 | 42.44 | 106.1 | 2 | 2 | 2 | 48.7677 | 7427 | 7.42 |  |  | 1996
HERMISTON_2 | CT | ng | cc | PNW | 204.5 | 6.0317 | 6.2926 | 6.5536 | 81.8 | 204.5 | 2 | 2 | 2 | 93.9962 | 14315 | 7.42 |  |  | 1996
HERMISTON_3 | CA | ng | cc | PNW | 106.1 | 6.0317 | 6.2926 | 6.5536 | 42.44 | 106.1 | 2 | 2 | 2 | 48.7677 | 7427 | 7.42 |  |  | 1996
HERMISTON_4 | CT | ng | cc | PNW | 204.5 | 6.0317 | 6.2926 | 6.5536 | 81.8 | 204.5 | 2 | 2 | 2 | 93.9962 | 14315 | 7.42 |  |  | 1996
HERMISTON PWR_CTG1 | CT | ng | cc | PNW | 212.5 | 5.9117 | 6.1726 | 6.4336 | 85 | 212.5 | 2 | 2 | 2 | 97.6733 | 14875 | 7.3 |  |  | 2002
HERMISTON PWR_CTG2 | CT | ng | cc | PNW | 212.5 | 5.9117 | 6.1726 | 6.4336 | 85 | 212.5 | 2 | 2 | 2 | 97.6733 | 14875 | 7.3 |  |  | 2002
HERMISTON PWR_STG1 | CA | ng | cc | PNW | 264.4 | 5.9117 | 6.1726 | 6.4336 | 105.76 | 264.4 | 2 | 2 | 2 | 121.5286 | 18508 | 7.3 |  |  | 2002
KLAMATH COGEN_CT1 | CT | ng | cc | PNW | 161.5 | 6.2617 | 6.5226 | 6.7836 | 64.6 | 161.5 | 2 | 2 | 2 | 74.2317 | 11305 | 7.65 |  |  | 2001
KLAMATH COGEN_CT2 | CT | ng | cc | PNW | 161.5 | 6.2617 | 6.5226 | 6.7836 | 64.6 | 161.5 | 2 | 2 | 2 | 74.2317 | 11305 | 7.65 |  |  | 2001
KLAMATH COGEN_ST1 | CA | ng | cc | PNW | 178.5 | 6.2617 | 6.5226 | 6.7836 | 71.4 | 178.5 | 2 | 2 | 2 | 82.0456 | 12495 | 7.65 |  |  | 2001
KLAMATH EXPANSION_GT1 | GT | ng | ct | PNW | 29.4 | 8.8591 | 8.9241 | 8.9892 | 10.29 | 29.4 | 1 | 1 | 3.17 | 12.3873 | 2058 | 10.77 |  |  | 2002
KLAMATH EXPANSION_GT2 | GT | ng | ct | PNW | 29.4 | 8.8591 | 8.9241 | 8.9892 | 10.29 | 29.4 | 1 | 1 | 3.17 | 12.3873 | 2058 | 10.77 |  |  | 2002
KLAMATH EXPANSION_GT3 | GT | ng | ct | PNW | 29.4 | 8.8591 | 8.9241 | 8.9892 | 10.29 | 29.4 | 1 | 1 | 3.17 | 12.3873 | 2058 | 10.77 |  |  | 2002
KLAMATH EXPANSION_GT4 | GT | ng | ct | PNW | 29.4 | 8.8591 | 8.9241 | 8.9892 | 10.29 | 29.4 | 1 | 1 | 3.17 | 12.3873 | 2058 | 10.77 |  |  | 2002
OSU ENERGY CENTER_CTG | CT | ng | cc | PNW | 5.5 | 3.7517 | 4.0126 | 4.2736 | 2.2 | 5.5 | 1 | 1 | 2 | 2.528 | 385 | 5.14 |  |  | 2010
OSU ENERGY CENTER_STG | CA | ng | cc | PNW | 1 | 3.7517 | 4.0126 | 4.2736 | 0.4 | 1 | 1 | 1 | 2 | 0.45964 | 70 | 5.14 |  |  | 2010
PORT WESTWARD 1_GEN 1 | CT | ng | cc | PNW | 312 | 5.5517 | 5.8126 | 6.0736 | 124.8 | 312 | 1 | 1 | 2 | 143.4074 | 21840 | 6.94 |  |  | 2007
PORT WESTWARD 1_GEN 2 | CA | ng | cc | PNW | 171 | 5.5517 | 5.8126 | 6.0736 | 68.4 | 171 | 1 | 1 | 2 | 78.5983 | 11970 | 6.94 |  |  | 2007
BIOTECH LS_BLS1 | IC | oil | ct | PNW | 1 | NaN | NaN | NaN | 0.35 | 1 | 1 | 1 | 3.17 | NaN | 70 | n/a | 10.4?? |  | 2009
BOULDER PARK_1 | IC | NG | ct | PNW | 4.1 | 7.2691 | 7.3341 | 7.3992 | 1.435 | 4.1 | 1 | 1 | 3.17 | 1.7275 | 287 | 9.18 |  |  | 2002
BOULDER PARK_2 | IC | NG | ct | PNW | 4.1 | 7.2691 | 7.3341 | 7.3992 | 1.435 | 4.1 | 1 | 1 | 3.17 | 1.7275 | 287 | 9.18 |  |  | 2002
BOULDER PARK_3 | IC | NG | ct | PNW | 4.1 | 7.2691 | 7.3341 | 7.3992 | 1.435 | 4.1 | 1 | 1 | 3.17 | 1.7275 | 287 | 9.18 |  |  | 2002
BOULDER PARK_4 | IC | NG | ct | PNW | 4.1 | 7.2691 | 7.3341 | 7.3992 | 1.435 | 4.1 | 1 | 1 | 3.17 | 1.7275 | 287 | 9.18 |  |  | 2002
BOULDER PARK_5 | IC | NG | ct | PNW | 4.1 | 7.2691 | 7.3341 | 7.3992 | 1.435 | 4.1 | 1 | 1 | 3.17 | 1.7275 | 287 | 9.18 |  |  | 2002
BOULDER PARK_6 | IC | NG | ct | PNW | 4.1 | 7.2691 | 7.3341 | 7.3992 | 1.435 | 4.1 | 1 | 1 | 3.17 | 1.7275 | 287 | 9.18 |  |  | 2002
TRANSALTA CENTRALIA_1 | ST | coal | coal | PNW | 729.9 | 8.3592 | 8.9741 | 9.589 | 255.465 | 547.425 | 10 | 10 | 4.6 | 100.6453 | 51093 | 10.1 | mixed fuel type |  | 1972
TRANSALTA CENTRALIA_2 | ST | coal | coal | PNW | 729.9 | 8.3592 | 8.9741 | 9.589 | 255.465 | 547.425 | 10 | 10 | 4.6 | 100.6453 | 51093 | 10.1 | NG gen retired 2013?? |  | 1973
TRANSALTA CENTRALIA_3 | CT | NG | cc | PNW | 60.5 | NaN | NaN | NaN | 24.2 | 60.5 | 2 | 2 | 2 | NaN | 4235 |  | maybe 8.6 |  | 2002
TRANSALTA CENTRALIA_4 | CT | NG | cc | PNW | 60.5 | NaN | NaN | NaN | 24.2 | 60.5 | 2 | 2 | 2 | NaN | 4235 |  | I think NG isn't online yet |  | 2002
TRANSALTA CENTRALIA_5 | CT | NG | cc | PNW | 60.5 | NaN | NaN | NaN | 24.2 | 60.5 | 2 | 2 | 2 | NaN | 4235 |  |  |  | 2002
TRANSALTA CENTRALIA_6 | CT | NG | cc | PNW | 60.5 | NaN | NaN | NaN | 24.2 | 60.5 | 2 | 2 | 2 | NaN | 4235 |  |  |  | 2002
TRANSALTA CENTRALIA_7 | CA | NG | cc | PNW | 80 | NaN | NaN | NaN | 32 | 80 | 2 | 2 | 2 | NaN | 5600 |  |  |  | 2002
CHEHALIS_CA | CA | NG | cc | PNW | 230 | 6.3217 | 6.5826 | 6.8436 | 92 | 230 | 2 | 2 | 2 | 105.717 | 16100 | 7.71 |  |  | 2003
CHEHALIS_CT1 | CT | NG | cc | PNW | 234 | 6.3217 | 6.5826 | 6.8436 | 93.6 | 234 | 2 | 2 | 2 | 107.5556 | 16380 | 7.71 |  |  | 2003
CHEHALIS_CT2 | CT | NG | cc | PNW | 234 | 6.3217 | 6.5826 | 6.8436 | 93.6 | 234 | 2 | 2 | 2 | 107.5556 | 16380 | 7.71 |  |  | 2003
CRYSTAL MOUNTAIN_1 | IC | oil | ct | PNW | 2.7 | 8.7991 | 8.8641 | 8.9292 | 0.945 | 2.7 | 1 | 1 | 3.17 | 1.1376 | 189 | 10.71 |  |  | 1969
ENCOGEN_CTG1 | CT | ng | cc | PNW | 39.4 | 7.6417 | 7.9026 | 8.1636 | 15.76 | 39.4 | 3 | 3 | 2 | 18.1098 | 2758 | 9.03 |  |  | 1993
ENCOGEN_CTG2 | CT | ng | cc | PNW | 39.4 | 7.6417 | 7.9026 | 8.1636 | 15.76 | 39.4 | 3 | 3 | 2 | 18.1098 | 2758 | 9.03 |  |  | 1993
ENCOGEN_CTG3 | CT | ng | cc | PNW | 39.4 | 7.6417 | 7.9026 | 8.1636 | 15.76 | 39.4 | 3 | 3 | 2 | 18.1098 | 2758 | 9.03 |  |  | 1993
ENCOGEN_STG | CA | ng | cc | PNW | 58.2 | 7.6417 | 7.9026 | 8.1636 | 23.28 | 58.2 | 3 | 3 | 2 | 26.751 | 4074 | 9.03 |  |  | 1993
FERNDALE_CT1A | CT | ng | cc | PNW | 95.9 | 6.0917 | 6.3526 | 6.6136 | 38.36 | 95.9 | 3 | 3 | 2 | 44.0794 | 6713 | 7.48 |  |  | 1994
FERNDALE_CT1B | CT | ng | cc | PNW | 95.9 | 6.0917 | 6.3526 | 6.6136 | 38.36 | 95.9 | 3 | 3 | 2 | 44.0794 | 6713 | 7.48 |  |  | 1994
FERNDALE_ST1 | CA | ng | cc | PNW | 93.7 | 6.0917 | 6.3526 | 6.6136 | 37.48 | 93.7 | 3 | 3 | 2 | 43.0682 | 6559 | 7.48 |  |  | 1994
FRANKLIN/GRAYS_GT1 | GT | ng | ct | PNW | 11.4 | NaN | NaN | NaN | 3.99 | 11.4 | 1 | 1 | 3.17 | NaN | 798 | N/A | retired 2016 | no gen info 2016 & 2012, but in 2010 | 2002
FRANKLIN/GRAYS_GT2 | GT | ng | ct | PNW | 11.4 | NaN | NaN | NaN | 3.99 | 11.4 | 1 | 1 | 3.17 | NaN | 798 | N/A |  |  | 2002
FRANKLIN/GRAYS_GT3 | GT | ng | ct | PNW | 11.4 | NaN | NaN | NaN | 3.99 | 11.4 | 1 | 1 | 3.17 | NaN | 798 | N/A |  |  | 2002
FRANKLIN/GRAYS_GT4 | GT | ng | ct | PNW | 11.4 | NaN | NaN | NaN | 3.99 | 11.4 | 1 | 1 | 3.17 | NaN | 798 | N/A |  |  | 2002
FREDERICKSON_1 | GT | ng | ct | PNW | 88.9 | 25.6591 | 25.7241 | 25.7892 | 31.115 | 88.9 | 1 | 1 | 3.17 | 37.457 | 6223 | 27.57 |  |  | 1981
FREDERICKSON_2 | GT | ng | ct | PNW | 88.9 | 25.6591 | 25.7241 | 25.7892 | 31.115 | 88.9 | 1 | 1 | 3.17 | 37.457 | 6223 | 27.57 |  |  | 1981
FREDERICKSON_PWR_FICT | CT | ng | cc | PNW | 192 | 5.9217 | 6.1826 | 6.4436 | 76.8 | 192 | 2 | 2 | 2 | 88.2507 | 13440 | 7.31 |  |  | 2002
FREDERICKSON_PWR_FIST | CA | ng | cc | PNW | 126.3 | 5.9217 | 6.1826 | 6.4436 | 50.52 | 126.3 | 2 | 2 | 2 | 58.0524 | 8841 | 7.31 |  |  | 2002
FREDONIA_1 | GT | ng | ct | PNW | 129.1 | 3.8991 | 3.9641 | 4.0292 | 45.185 | 129.1 | 1 | 1 | 3.17 | 54.3947 | 9037 | 5.81 |  |  | 1984
FREDONIA_2 | GT | ng | ct | PNW | 129.1 | 3.8991 | 3.9641 | 4.0292 | 45.185 | 129.1 | 1 | 1 | 3.17 | 54.3947 | 9037 | 5.81 |  |  | 1984
FREDONIA_3 | GT | ng | ct | PNW | 58.9 | 3.8991 | 3.9641 | 4.0292 | 20.615 | 58.9 | 1 | 1 | 3.17 | 24.8168 | 4123 | 5.81 |  |  | 2001
FREDONIA_4 | GT | ng | ct | PNW | 58.9 | 3.8991 | 3.9641 | 4.0292 | 20.615 | 58.9 | 1 | 1 | 3.17 | 24.8168 | 4123 | 5.81 |  |  | 2001
GOLDENDALE_G1 | CT | ng | cc | PNW | 170 | 5.7217 | 5.9826 | 6.2436 | 68 | 170 | 1 | 1 | 2 | 78.1387 | 11900 | 7.11 |  |  | 2004
GOLDENDALE_G2 | CA | ng | cc | PNW | 114.3 | 5.7217 | 5.9826 | 6.2436 | 45.72 | 114.3 | 1 | 1 | 2 | 52.5368 | 8001 | 7.11 |  |  | 2004
GRAYS HARBOR_CT1 | CT | ng | cc | PNW | 198.9 | 5.7217 | 5.9826 | 6.2436 | 79.56 | 198.9 | 1 | 1 | 2 | 91.4222 | 13923 | 7.11 |  |  | 2008
GRAYS HARBOR_CT2 | CT | ng | cc | PNW | 198.9 | 5.7217 | 5.9826 | 6.2436 | 79.56 | 198.9 | 1 | 1 | 2 | 91.4222 | 13923 | 7.11 |  |  | 2008
GRAYS HARBOR_ST1 | CA | ng | cc | PNW | 300 | 5.7217 | 5.9826 | 6.2436 | 120 | 300 | 1 | 1 | 2 | 137.8918 | 21000 | 7.11 |  |  | 2008
GRIMES WAY_1 | IC | ng | ct | PNW | 1.1 | 7.5991 | 7.6641 | 7.7292 | 0.385 | 1.1 | 1 | 1 | 3.17 | 0.46347 | 77 | 9.51 |  |  | 2005
GRIMES WAY_2 | IC | ng | ct | PNW | 1.1 | 7.5991 | 7.6641 | 7.7292 | 0.385 | 1.1 | 1 | 1 | 3.17 | 0.46347 | 77 | 9.51 | mixed fuel type |  | 2005
GRIMES WAY_3 | IC | OIL | ct | PNW | 1.8 | 8.4891 | 8.5541 | 8.6192 | 0.63 | 1.8 | 1 | 1 | 3.17 | 0.75841 | 126 | 10.4 |  |  | 2005
MARCH POINT_GTG1 | GT | NG | ct | PNW | 46.6 | 3.8091 | 3.8741 | 3.9392 | 16.31 | 46.6 | 1 | 1 | 3.17 | 19.6344 | 3262 | 5.72 |  |  | 1991
MARCH POINT_GTG2 | GT | NG | ct | PNW | 46.6 | 3.8091 | 3.8741 | 3.9392 | 16.31 | 46.6 | 1 | 1 | 3.17 | 19.6344 | 3262 | 5.72 |  |  | 1991
MARCH POINT_GTG3 | GT | NG | ct | PNW | 46.6 | 3.8091 | 3.8741 | 3.9392 | 16.31 | 46.6 | 1 | 1 | 3.17 | 19.6344 | 3262 | 5.72 |  |  | 1993
MARCH POINT_STG1 | CA | NG | cc | PNW | 27 | 4.3317 | 4.5926 | 4.8536 | 10.8 | 27 | 3 | 3 | 2 | 12.4103 | 1890 | 5.72 | retired 2015 |  | 1993
MINT FARM_1STG | CA | NG | cc | PNW | 133 | 6.2017 | 6.4626 | 6.7236 | 53.2 | 133 | 1 | 1 | 2 | 61.132 | 9310 | 7.59 |  |  | 2008
MINT FARM_CTG1 | CT | NG | cc | PNW | 186 | 6.2017 | 6.4626 | 6.7236 | 74.4 | 186 | 1 | 1 | 2 | 85.4929 | 13020 | 7.59 |  |  | 2008
NORTHEAST_1 | GT | NG | cc | PNW | 61.8 | 11.7717 | 12.0326 | 12.2936 | 24.72 | 61.8 | 6 | 6 | 2 | 28.4057 | 4326 | 13.16 |  |  | 1963
RIVER ROAD | CS | ng | cc | PNW | 248 | 5.9317 | 6.1926 | 6.4536 | 99.2 | 248 | 2 | 2 | 2 | 113.9905 | 17360 | 7.32 |  |  | 1997
SUMAS_GEN1 | CT | NG | cc | PNW | 87.8 | 7.3117 | 7.5726 | 7.8336 | 35.12 | 87.8 | 3 | 3 | 2 | 40.3563 | 6146 | 8.7 |  |  | 1993
SUMAS_GEN2 | CA | NG | cc | PNW | 37.7 | 7.3117 | 7.5726 | 7.8336 | 15.08 | 37.7 | 3 | 3 | 2 | 17.3284 | 2639 | 8.7 |  |  | 1993
UNIV OF WA_DG3 | IC | oil | ct | PNW | 2 | 8.4891 | 8.5541 | 8.6192 | 0.7 | 2 | 1 | 1 | 3.17 | 0.84268 | 140 | 10.4 |  |  | 1993
UNIV OF WA_DG4 | IC | oil | ct | PNW | 2 | 8.4891 | 8.5541 | 8.6192 | 0.7 | 2 | 1 | 1 | 3.17 | 0.84268 | 140 | 10.4 |  |  | 1993
UNIV OF WA_DG5 | IC | oil | ct | PNW | 2 | 8.4891 | 8.5541 | 8.6192 | 0.7 | 2 | 1 | 1 | 3.17 | 0.84268 | 140 | 10.4 |  |  | 1994
UNIV OF WA_DG6 | IC | oil | ct | PNW | 2 | 8.4891 | 8.5541 | 8.6192 | 0.7 | 2 | 1 | 1 | 3.17 | 0.84268 | 140 | 10.4 |  |  | 2003
UNIV OF WA_DG7 | IC | oil | ct | PNW | 2 | 8.4891 | 8.5541 | 8.6192 | 0.7 | 2 | 1 | 1 | 3.17 | 0.84268 | 140 | 10.4 |  |  | 2003
UNIV OF WA_TG2 | ST | NG | steam | PNW | 5 | 7.6979 | 8.4028 | 9.1078 | 2 | 5 | 6 | 6 | 2 | 1.0342 | 350 | 9.51 | mixed fuel type |  | 1969
WHITEHORN_2 | GT | ng | ct | PNW | 84.6 | 19.4291 | 19.4941 | 19.5592 | 29.61 | 84.6 | 1 | 1 | 3.17 | 35.6452 | 5922 | 21.34 |  |  | 1981
WHITEHORN_3 | GT | ng | ct | PNW | 84.6 | 19.4291 | 19.4941 | 19.5592 | 29.61 | 84.6 | 1 | 1 | 3.17 | 35.6452 | 5922 | 21.34 |  |  | 1981
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Gen_2012
UNIV OF OR_CTG1 | CT | ng | 7.5 | 9.89 | online 2012
UNIV OF OR_STG1 | CA | ng | 3.5 | 9.89 | online 2012
PORT WESTWARD 2_GEN 1 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 2 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 3 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 4 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 5 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 6 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 7 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 8 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 9 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 10 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 11 | IC | ng | 18.8 | 9.51 | Unit II online 2014
PORT WESTWARD 2_GEN 12 | IC | ng | 18.8 | 9.51 | Unit II online 2014
CARTY_1 | CT | ng | 300 | 5.29 | Online 2016
CARTY_2 | CA | ng | 200 | 5.29 | Online 2016
PERENNIAL WIND CHASER_GT1 | GT | ng | 106 | n/a | Online 2019
PERENNIAL WIND CHASER_GT2 | GT | ng | 106 | n/a | Online 2019
PERENNIAL WIND CHASER_GT3 | GT | ng | 106 | n/a | Online 2019
PERENNIAL WIND CHASER_GT4 | GT | ng | 106 | n/a | Online 2019

## Must Run
CLEARWATER_GEN1 | ST | biomass | PNW | 10 |  | 5.55
CLEARWATER_2 | ST | biomass |  | 10 |  | 5.55
CLEARWATER_3 | ST | biomass |  | 28.8 |  | 5.55
CLEARWATER_4 | ST | biomass |  | 65 |  | 5.55
FIGHTING CREEK_G123 | IC | biomass |  | 1.6 |  | 10.72
FIGHTING CREEK_G162 | IC | biomass |  | 1.6 |  | 10.72
PLUMMER_1 | ST | biomass |  | 6.2 |  | 5.62
RAFT RIVER_1 | BT | geothermal |  | 18 |  | 9.23
RAFT RIVER_2 | BT | geothermal |  | 18 |  | 9.23
COLUMBIA_2 | ST | nuclear |  | PNW | 1200 | 84000 | 10.46